## Slide 1: An Introduction to the Cycle 11 ALMA Observing Tool
Atacama Large Millimeter/submillimeter Array
Expanded Very Large Array
Very Long Baseline Array
Jackie Champagne, adapted from Fengwu Sun
Steward Observatory, University of Arizona
EURECA March 29, 2024

## Slide 2: Why should you listen to Jackie?
Because she is #GirlwiththeALMATattoo.

## Slide 3: ALMA Cycle 11 Planning https://almascience.nrao.edu/proposing/call-for-proposals
As in Cycle 10, PI will no longer make small changes &
re-submit projects in early summer
Changes to accepted projects will be made via the helpdesk
ALMA Cycle 11 will start in October 2024 and will span 12 months. The JAO anticipates having 4300 hours for approved science observations on the 12-m Array and 4300 hours on the Atacama Compact Array (ACA), also known as the Morita Array. Projects with observations in the highest-frequency Bands 8, 9, and 10 are strongly encouraged.

## Slide 4: Configurations
The configuration schedule strongly influences when an object will be observed
Some combinations of object RA and desired angular resolution may not allow night observing
l3mm
l3mm

## Slide 5: Cycle 11 Capabilities - I
Antennas: 43+ in the 12-m Array; ten 7-m antennas; three 12-m total power, spectral line antennas in the ACA
Receiver bands: 3, 4, 5, 6, 7, 8, 9, 10
  (wavelengths 3.1, 2.1, 1.5, 1.3, 0.87, 0.74, 0.44, 0.35 mm)
Maximum baselines/largest 12m array configurations:
  16.2 km (bands 3–8), 13.9 km (band 3-9), 8.5 km (band 3-10)
  C43-10 (bands 3-8), C43-9 (band 3-9), C43-8 (band 3-10)
Spectral line, continuum, and mosaic observations:
  Spectral line and continuum observations with the 12-m and 7-m Arrays in all bands
  Single field interferometry (all bands) and mosaics (Bands 3 - 9) with both the 12-m and 7-m arrays
  Single dish (total power) spectral line in Bands 3 - 8

## Slide 6: Where is the OT?
On the science portal under Proposing, click on Observing Tool
Notes: I recommend webstart cuz you know you’re up to date

## Slide 7: When the ALMA OT starts
First you see this
Then you see this
PI: Make sure to use the Cycle 11 OT from the Science Portal
**I recommend uninstalling previous versions first**
Notes: I recommend webstart cuz you know you’re up to date

## Slide 8
A clean slate. From here, you can:
Start a new proposal
  Add blank Science Goals (SG)
Recall a project from the archive
  As new or to use as a template
  Or look at it as-is
The Project node in the J-tree
This is a J-tree 
Use the key icons to expand/contract nodes

## Slide 9
This is the J-tree and the proposal node is where you provide a broad description
This page has your meta information, proposal title, abstract, proposal type, scientific category (for the review panels)
You can search the J-tree for names of nodes, details are in (?) help
The Proposal node in the J-tree
.P proposals in Receiver band 3
Keywords appear after proposal type is chosen

## Slide 10
Select PI/Co-I’s from registered ALMA users (only)
Proposal: pick PI, CoI & designate reviewer
For DPR. Can be a Co-I but someone must be indicated
Title
Select Keyword

## Slide 11
Scroll down, pick reviewer/mentor
pre-PhD PI chooses PhD Mentor
Student PI picks PhD mentor
PhD status of mentor must be confirmed
Mentor not needed if “yes”

## Slide 12
Attach the science case as a .pdf
pre-PhD PI chooses PhD Mentor
Attach a science case, max 4 page .pdf including figures
The .pdf may not contain more than 15% of its text in a font below 12pt
Some .pdf creation software pads files with hidden text in small fonts
Student PI picks PhD mentor
Large proposals are allowed 6 pages and require an additional one page management plan
PI confirms status of mentor
New!
which is why you hide captions in a powerpoint figure and save as pdf! hehe

## Slide 13
Justify duplicative observing
Justification of duplication of observations
This replaces an earlier mechanism whereby project codes were given
Give a concise justification if asking to duplicate previous observations or accepted proposals. This is not used if resubmitting a rejected proposal

## Slide 14
You can right-click and add blank Science Goals or use options of the File menu as shown on the next slide)
Do some science - add a Science Goal
You can clone science goals when you have them

## Slide 15
The alma template library is no longer included after so much experience with real observing
Click here to simultaneously access another project from disk or archive, which you can use to copy/paste nodes into a new project
Since Cycle 4, a previously-submitted project
can be opened as a new one from the archive
Since Cycle 6, an old DDT proposal can be
opened from the archive as a new proposal
Notes: Note from Harvey: In previous cycles it was not possible to copy/paste text from within templates and this is still not working as of Groundhog Day

## Slide 16
This science goal in the template can be copied whole into new Planned Observing.
Works with any node. Sub- nodes in target SG are over written when copy/pasting
PROJECTS AS TEMPLATES
Notes: Note from Harvey: In previous cycles it was not possible to copy/paste text from within templates and this is still not working as of Groundhog Day

## Slide 17
A description is useful for you, for the technical assessors, and for your Contact Scientist after your project is approved. But it’s optional
You’re now ready to flesh out the Science Goal (SG)
Give the SG a brief, descriptive name.

## Slide 18
The field setup node is where you provide source coordinates and other basic properties for one or more field sources/pointings

## Slide 19
The field setup node is where you provide source coordinates and other basic properties for one or more field sources/pointings
New! And super-annoying! The OT will issue a validation warning whenever the velocity is left at the 0 km/s default. An archive issue.

## Slide 20
When you resolve a source name from the server, check all the returned info, some may be unwanted
Source name, position, proper motion, velocity, velocity rest frame. use “lsrk” for vLSR
The expected source properties are used with the spectral setup, desired angular resolution, rms, to set the S/N, dynamic range and overall project viability
Since Cycle 4, OT defaults to ICRS, the standard radio coordinate system
Rectangular mosaic or 1/more offset pointings?
Expected polarization lower limits were made much simpler in Cycle 7: 0.1% for linear polarization and 1.8% for circular. These are now independent of correlator mode or source extent.

## Slide 21
When you resolve a source name from the server, check all the returned info, some may be unwanted
Source name, position, proper motion, velocity, velocity rest frame. use “lsrk” for vLSR
The expected source properties are used with the spectral setup, desired angular resolution, rms, to set the S/N, dynamic range and overall project viability
Since Cycle 4, OT defaults to ICRS, the standard radio coordinate system
Rectangular mosaic or 1/more offset pointings?
Expected polarization lower limits were made much simpler in Cycle 7: 0.1% for linear polarization and 1.8% for circular. These are now independent of correlator mode or source extent.
Hint: To resolve source names that are coordinates, preface with “JVAS” ie don’t use B2251+158, use
JVAS 2251+158

## Slide 22
When you resolve a source name from the server, check all the returned info, some may be junk
Source name, position, proper motion, velocity, velocity rest frame. use “lsrk” for vLSR
The expected source properties are used with the spectral setup, desired angular resolution, rms, to set the S/N, dynamic range and overall project viability
Since Cycle 4, OT defaults to ICRS, the standard radio coordinate system
Rectangular mosaic or 1/more offset pointings?
Only give polarization percentage for the polarization kind you wish to observe. The OT and pipeline key on the percentages to choose which is the goal of the project and the sensitivities and pointing possibilities of linear and circular are not the same

## Slide 23
When you resolve a source name, check all the returned info: velocity, proper motions etc may be bogus
Source name, position, proper motion, velocity, velocity rest fame.
LSR gone, use LSRK
The expected source properties are used with the spectral setup, desired angular resolution, rms, to set the S/N, dynamic range and overall project viability
Since Cycle 4, OT defaults to ICRS, the standard radio coordinate system
Rectangular mosaic or 1/more offset pointings?
Circular polarization is new! Smallest detectable circular pol. fraction is 1.8% for line or continuum
When you toggle the coordinate system between ICRS and Galactic the OT will convert between them
When using the spatial visualizer, the OT will find the correct image center for a position specified in galactic coordinates, but images returned by the standard image query servers are always in ICRS

## Slide 24
Read/write field sources to/from text files.
Format is described in help for ‘field source’ or write one out and examine it
Read/write a text file
See help for format or write a file
Illegal!
Individual pointings around a single target must overlap another pointing at the edges of their HPBW and all must be within 5o of the source coordinate
Pointings can be given as offsets or absolute sky positions, the
OT will convert between those if you check/uncheck Coord Type

## Slide 25
Pointings must overlap another pointing at the edges of their HPBW and all must be within 5o of the source coordinate
Pointings can be given as offsets or absolute sky positions, the
OT will convert between those if you check/uncheck Coord Type
Read/write a text file
See help for format
Illegal!
File Input in galactic coordinates has been possible since Cycle 6!
l,b input in decimal degrees is assumed if coordinate entries have no colons! A hack.

## Slide 26
Sources having a common spectral setup, observing pattern (single pointings or rectangular mosaic), rms … can (if possible, should!) be put in the same Science Goal no matter how far apart they are, let the OT cluster them

## Slide 27
Cycle3: more than
one field source
can have a mosaic but it’s all with mosaics or none in one SG
When you resolve a source, check all the returned info, velocity, proper motions may be bogus
Source name, position, proper motion, velocity velocity rest frame
The expected source properties are used with the spectral setup, desired angular resolution, rms, to set the S/N, dynamic range and overall project viability
Rectangular mosaic or 1/more pointings?
Cycle3: Linewidth only given in
velocity units
km/s or m/s
New: Cycle 4 OT defaults to ICRS, the standard radio coordinate system
The resulting clusters have a maximum separation between sources of 1o for long baseline configurations and 10o otherwise
A 10o limitation on source separation in a Science Goal was removed in Cycle 4. The OT groups targets using hierarchical clustering
The resulting clusters and the configurations that will be used to observe them can be examined using the time estimate at the Ctrl & Performance node

## Slide 28
The Spatial tab gives a graphical visualization of the Field Setup.
Select a background image from an online image server
The spatial visualizer
when you click on this node you will now land on its visualizer tab

## Slide 29
Setting up the mosaic in the Field Setup
Define the length, width and position angle of the region to mosaic. Default is to separate the field centers by about 48% of the primary beam (the Nyquist rate).
HPBWs for 12m antennas are 1.13l/D
No more than 150 12m Array pointings
Estimated number of 7m Array pointings
Crafting mosaics

## Slide 30
Setting up the mosaic in the Field Setup
Define the length, width and position angle of the region to mosaic. Default is to separate the field centers by about 48% of the primary beam (the Nyquist rate).
HPBW for the 12m antennas are 1.13l/D
No more than 150 12m Array pointings.
Estimated number of 7m Array pointings
Crafting mosaics
Mosaicking is allowed for linear polarization continuum observing in Bands 3-7, both
rectangular and custom - individual pointings overlapping at the beam FWHM

## Slide 31
You can load a local fits image
You can turn on/off the mosaic beam pattern
Crafting mosaics
ICRS

## Slide 32
You can load a local fits image
Each circle is the size of the hpbw & the pattern is centered on the pointing center
Crafting and displaying mosaics
ICRS

## Slide 33
You can load a local fits image
Each circle is the size of the hpbw & the pattern is centered on the pointing center
Crafting and displaying mosaics
ICRS
New! The tiling algorithm now allows an even number of pointings in one row

## Slide 34
when you click on this node you will land on its visualizer tab
Bands 9,10 are double sideband but sidebands are correlated separately using 90o Walsh switching.
90o Walsh switching has been on by default since Cycle 7
Overlaid lines are saved with the project see below
Band 5 enabled in Cycle 6, overlaps more with Band 4 since Cycle 7
The spectral setup tab

## Slide 35
This option will call up the spectral line picker. Spectral windows added this way retain line id and other info from the Splatalogue
ADD spectral windows to get started!
Frequencies may also be entered by hand

## Slide 36
From Cycle 9 -The online Spatalogue is accessible again!
Select one or more lines from a splatalogue-based list you can filter using the tools at left (see below)
Select one or more lines from a splatalogue-based list you can filter using the tools at left (see below)

## Slide 37
The Receiver/Back End Configuration Filters were revised in Cycle 7
Potentially selectable => in either sideband
Filter by name
Filter by receiver band / frequency
Before Cycle 7 this used a slider
The line lists can be long, so use filters

## Slide 38
Default spectral binning is 2 but can be set to other values with justification
Sky frequency is shown in barycentric frame so rest and sky frequency differ even when Vlsrk=0
Since Cycle 7 the OT wil give validation warnings if any part of a spw is closer than 30 MHz to the baseband edge OR more than half of the spw is within (30 MHz + the line width) of the baseband edge
Note!
Once a spectral window is defined with a rest frequency within it, the window must always thereafter contain that rest frequency or the OT will complain!

## Slide 39
Double click here to select bandwidth & resolution from a dropdown list

## Slide 40
Spectral specs share a base- band so the sum of shares can’t exceed 1. Choices for resolution change with this fraction
Failing to rename a new spw brings a validation error! Picky picky.
Notes: Spectral averaging to 2 barely degrades spectral resolution while reducing data rate by 2, but be careful to maintain adequate spectral sampling and resolution of your lines

## Slide 41
The spectral tab gives a graphical visualization of the spectral setup. The orange vertical bars are sidebands. This setup is okay!
Drag the green slider to slide the VIEW
Drag the yellow vertical to move the first LO
Click in the yellow area to MAGNIFY
Zoom in here to start
The spectral setup has a visualizer for spectral windows and spectral lines

## Slide 42
You can display atmospheric transmission at any octile but the OT will always use the “automatic” choice for the observing time estimate
The spectral setup has a visualizer for spectral windows and spectral lines

## Slide 43
Standard single continuum setups, can be modified with justification
Continuum & new choice of resolution
PI can choose spectral resolution
(Mostly governed by data processing rates, data can be resampled during reduction)

## Slide 44
Standard single continuum setups, can be modified with justification
Full Continuum & Polarization
Full Polarization for Bands 3 – 7
If FULL is specified, an expected line or continuum polarization percentage >0 must be given in the field setup
You can edit the frequencies used for continuum polarization.
Full polarization is available for single pointings w/ Standalone ACA

## Slide 45
Standard single continuum setups, can be modified with justification
Polarization - suggestion
Full Polarization for Bands 3 - 7
User can edit frequencies used for continuum polarization.
If FULL is specified, an expected polarization percentage must be given with the field setup tab
Suggestion:
Polarization Schedule blocks are 3+ hours long to get parallactic angle coverage and the rms noise may be much less than specified on the ctrl&perf page
TECHNICAL JUSTIFICATION shows the actual expected rms noise and various S/N ratios

## Slide 46
Automated spectral scan - I
Automated Spectral Scan mode and tunings
Spectral scans may be used with 7m observing including standalone 7-m
Spectral scan observing was made more efficient in Cycle 7 by joining all calibrator tunings to lessen the number of antenna pointing calibrations
Total Power spectral scans may appear in Cycle 10
Jam tomorrow, never jam today

## Slide 47
Automated spectral scan - II
Visual Representation of the Spectral Scan Mode – Actual spectral coverage vs. requested coverage

## Slide 48
Saving spw & line rest frequencies
Visual Representation of the Spectral Scan Mode – Actual spectral coverage vs. requested coverage
This calls a version of the spectral line picker to add rest frequencies that you may wish to note. This can be used later in data reduction to set velocity scales for lines that fall within a spectral window
List of saved rest frequencies including
-spw centers
Saved overlaid lines (if desired)
Defined rest frequencies

## Slide 49
Viewing spw & line rest frequencies
All the spw centers, saved overlaid lines and defined rest frequencies will be visualized even if they can’t or won’t be observed

## Slide 50
Bands 9&10 - sideband separation (90o Walsh)
On by default since Cycle 7
Record both sidebands?
See where lines in one sideband appear in other if checked
Only 1.875 GHz bandwidth, line or continuum allowed
Only 1.875 GHz bandwidth, line or continuum
Bands 9 & 10 have double sideband receivers but the sidebands can be separated using an additional phase-switching step, 90o Walsh switching. This can be turned on solely to reject lines in the image sideband, but once enabled, the two SB may be stored separately. Note that the noise level is not affected because only a correlated signal can be separated

## Slide 51
Enhanced positional accuracy - 1st step to astrometry
At the bottom of the Calibration Setup page an “astrometry” option
Uses extra calibration and a bright grid calibrator must be within 5o

## Slide 52
Control and Performance defines the required angular resolution, sensitivity, largest angular scale, etc.
Short max baseiines in Cy8
The Control and Performance Page
Array properties summarized
New look, better description, same great function

## Slide 53
Specify the desired rms Jy/beam noise level and the bandwidth over which that should be measured
For spectral line the bandwidth for sensitivity must not be less than the channel spacing in the representative spectral window
Control and Performance shows what resolution and angular scales are observable and defines required angular resolution, sensitivity, largest angular scale, etc
The Control and Performance Page

## Slide 54
Angular resolution options control which configurations and combinations of arrays are considered. Here a single resolution is entered and it will be considered to have a +/-10% margin
Flux - Temperature conversion at the desired resolution

## Slide 55
Since Cycle 6 the min and max allowed user-input angular resolutions are ½ the smallest and twice the largest of the values shown for the 12m configurations
RANGE:
You can specify an acceptable range of angular resolution for the 12m array. This implies a set of configuration possibilities, use the planning & time estimate to see what they are
Notes: .

## Slide 56
With “ANY” there is no largest angular scale (0 by definition) or angular resolution and the project is supposed to be suited to any non-LB configuration
The “ANY” option replaced older ways of specifying a point source but is more general

## Slide 57
ANY may not be the best choice even if you really don’t care.
Using very compact arrays for very northerly sources increases times from shadowing
The most extended configurations place stronger demands on phase calibration

## Slide 58
With Standalone ACA there is a variable largest angular scale but angular resolution is fixed by the observing frequency in the representative spectral window
Bands 9-10 can be used with Standalone ACA
Full polarization for single pointings w/ Standalone ACA

## Slide 59
The time estimate popup shows how the OT has grouped targets into clusters and what combinations of synthesis + TP will be used to observe them
Use “planning&time estimate” to see what combinations are possible, what was chosen
The beam ellipticity is shown with the maximum axial ratio that will be allowed during scheduling
Use the planning&time estimate popup to see how your sources will be observed, how they may have been clustered and how the time is being used. When many combinations of configurations are shown, the 1st choice minimizes 12m time
This also shows how your time is distributed among the various things that happen
Notes: .

## Slide 60
SG Planning and Time Estimates
scroll down in the planning popup to see a breakdown of how the required time is comprised by its various constituents
This project needs 12m + 7m synthesis owing to the combination of angular resolution and largest angular scale

## Slide 61
Single source time estimates
Note that the OT calculates the number of executions based on an estimate of the maximum duration of an SB. This means that adding a little bit of on-source or calibration time can cause a significantly larger total time if another execution is implied

## Slide 62
Use Tool->display project time summary on the main menu to see these summaries per science goal

## Slide 63
Especially when using a RANGE of angular resolution:
Rules are operating under the hood to choose among the possible configuration choices and they may be biased toward the low resolution end of an angular range because less 12m time is needed. Variations in the range can cause disproportionately large differences in the time.
In the cases above only the upper end of a range changes, from 1” to 3”
Be careful that the OT is not making choices for you that you would not make for yourself. Before submitting with a range, narrow it and use the project time summary to examine the choices the OT is making
Notes: .

## Slide 64
v
Time constrained observing
Entering time-constrained observations –> Dates, Epochs or Monitoring
With appropriate justification or additional information
A file format is defined in the help to allow importing a list of time constraints

## Slide 65
The sensitivity calculator is available separately in the OT (or on the web)
Using this tool or options in the spectral visualizer’s opacity display will not affect the OT’s observing time calculation

## Slide 66
Technical Justification
There are separate standard sections for Sensitivity, Imaging and Correlator and another may appear to allow you to justify some of the parameter choices you may have made
Each requires its own 50+ word justification
Each standard section comes with a summary of the requested input information to detail the different technical aspects of your program.
Here would be the standard required justification of the sensitivity parameters

## Slide 67
Technical Justification
Exceptions to standard practice require separate justification. Here, the OT notes that the ACA is selected even though the OT thinks it is unneeded.
Here would be the standard required justification of the imaging parameters
Here would be the regular required correlator justification

## Slide 68
Note the spiffy new icons!
When the time is ripe … validate & submit
Click in either place to check that your project will validate in the OT. If it doesn’t validate when you submit, the archive will reject it.

## Slide 69
Click in either place to make sure that your project will be validated by the OT. If it doesn’t validate when you submit, the archive will reject it.
Note the spiffy new icons!
When the time is ripe … validate & submit
NEW! The OT lets you know when it’s validating.

## Slide 70
Clicking on a validation error should take you to the problem directly

## Slide 71
When the time is ripe … validate & submit
When you are satisfied that your proposal is complete, use the top level File menu to submit it to the archive

## Slide 72
When the time is ripe … validate & submit
When you are satisfied that your proposal is complete, use the top level File menu to submit it to the archive
Or use the upload icon below the main menu

## Slide 73: Recap

## Slide 74
Use preferences to customize

## Slide 75
A Few OT Tips…
The same cut and paste commands you use outside the OT for text also work inside it since Cycle 5
Ctrl-Z global shortcut will expand out all succeeding items in the J-tree (try it, you’ll see what we mean)
  Holding down ALT when making choices in dropdown lists will convert to the unit or type of the new choice
    Otherwise, only the description changes, not value
  OT does galactic-celestial conversion automatically
  Cannot convert in other ways, eg not FK5 J2000 to ICRS. FK5 J2000 is deprecated

## Slide 76
A Few More OT Tips…
In the J-tree: Holding down the alt key in combination with the up/down arrows will move from a node in one SG to the same node in the adjacent SG (try it when you have more than one SG)
Ctrl-B will generate all SB’s for items lower in tree

## Slide 77
Don’t be afraid to ask for directions
Suggestion: input file formats are shown in the help sections that you invoke with a local “?” button but writing to a file provides an example most directly

## Slide 78
www.almascience.nrao
www.almascience.org
The motherships are always there
Notes: User support is a priority – answer helpdesks within 48 hours

## Slide 79: Have no fear, ALMA Helpdesk is here…
ALMA

## Slide 80: For more info:
https://almascience.nrao.edu/
The Atacama Large Millimeter/submillimeter Array (ALMA), an international astronomy facility, is a partnership of Europe, North America and East Asia in cooperation with the Republic of Chile. ALMA is funded in Europe by the European Organization for Astronomical Research in the Southern Hemisphere (ESO), in North America by the U.S. National Science Foundation (NSF) in cooperation with the National Research Council of Canada (NRC) and the National Science Council of Taiwan (NSC), and in East Asia by the National Institutes of Natural Sciences (NINS) of Japan in cooperation with the Academia Sinica (AS) in Taiwan. ALMA construction and operations are led on behalf of Europe by ESO, on behalf of North America by the National Radio Astronomy Observatory (NRAO), which is managed by Associated Universities, Inc. (AUI), and on behalf of East Asia by the National Astronomical Observatory of Japan (NAOJ). The Joint ALMA Observatory (JAO) provides the unified leadership and management of the construction and operation of ALMA.